## START HERE
START HERE — Community Quick Guide
Use this workbook to assess one proposed data-centre project. Begin with evidence, leave unknowns visible, and stop if a hard gate cannot be resolved.
BEFORE YOU BEGIN
Make a fresh working copy for each proposed project.
Name a community coordinator to keep the workbook and evidence register current.
Gather available planning, ownership, utility, water, tax, incentive and infrastructure documents.
Record a source and date for every material figure or answer. UNKNOWN is a valid and important answer.
YOUR FIRST 60-MINUTE MEETING
Step | Action | Workbook tab | Output
1 | Name the project, location, applicant, technology tenant and approval stage. | Project Intake | Project record
2 | Record what has been supplied. Mark unsupported information UNKNOWN. | Project Intake | Missing-document list
3 | Review the seven tests that can stop or delay a decision. | Hard Gates | Pass / Conditional / Fail / Unknown
4 | Trace who first pays, who repays and who carries the final infrastructure risk. | Cost Ledger + Power & Water | Cost and risk owners
5 | Enter supported public revenues, subsidies, infrastructure and service costs. | Fiscal Inputs | 20-year model inputs
6 | Test slower construction, lower use, closure and other credible downside cases. | Scenarios | Downside result
7 | Record every promised benefit, responsible party, deadline, remedy and security. | Contract Register | Enforceable obligations
8 | Review readiness only after the checks are complete. | Cover & Decision + Checks | Seek / Conditional / Defer / Reject
EVIDENCE LABELS
Label | Meaning | How to use it
FACT | Independently supported by reliable evidence. | May support a decision if current and project-specific.
ESTIMATE | Calculated or extrapolated using stated assumptions. | Show the assumptions and test a weaker case.
CLAIM | An assertion by an interested party. | Do not rely on it until independently verified.
UNKNOWN | There is not enough reliable evidence. | Request evidence. Defer if it affects a hard gate.
WHO COMPLETES WHICH TABS
Role | Main tabs | Purpose
Community coordinator | START HERE; Project Intake; Sources | Maintain the project record and evidence register.
Finance or economic reviewer | Cost Ledger; Fiscal Inputs; 20Y Model; Scenarios | Test the public financial bargain and downside.
Electricity and water reviewers | Power & Water | Test capacity, upgrades, cost recovery and long-term risk.
Legal and planning reviewers | Hard Gates; Contract Register | Test authority, enforceability, remedies and security.
Community review group | Cover & Decision; Annual Dashboard; Checks | Review the decision and monitor actual performance.
IMPORTANT RULES
Do not overwrite formulas. Enter information only in designated input cells.
Do not convert missing evidence into a favourable assumption. Keep it marked UNKNOWN.
A failed or unknown hard gate cannot be averaged away by claimed investment, jobs or economic output.
This workbook supports public decision-making. It does not replace legal, engineering, utility, water, tax or accounting advice.

## Cover & Decision
Host Community Decision Model
Stage 12 ¦ United States large data-centre community impact research ¦ Version 1.0 ¦ 2026-07-25
Decision engine
Hard-gate result | DEFER — EVIDENCE INCOMPLETE
Model readiness | INCOMPLETE — DO NOT APPROVE
20-year NPV — local government | 0
20-year NPV — public sector incl. utility/ratepayer | 0
Unsecured/public-risk commitments | 0
Recommended posture | DEFER / REJECT
Required sequence
1 | Complete Project Intake and obtain applicant evidence.
2 | Map every public and private infrastructure cost in Cost Ledger.
3 | Enter fiscal assumptions and evidence classifications; use zero only when supported.
4 | Run the seven Hard Gates. A Fail or Unknown cannot be averaged away.
5 | Negotiate and execute the Contract Register, guarantees and security.
6 | Set annual targets and evidence in Annual Dashboard before occupancy.
7 | Approve only after Checks reports READY FOR DECISION.
Interpretation
FACT | Independently supported by reliable evidence.
ESTIMATE | Calculated or extrapolated; assumptions and uncertainty must be stated.
CLAIM | Assertion by an interested party; not accepted without verification.
UNKNOWN | Insufficient evidence. For a hard gate, this requires deferral.
This is a decision-support template, not legal, engineering, utility-rate or tax advice. Local counsel, the relevant utility/regulator, water authority and fiscal officers must adapt and verify it for each project.

## Project Intake
Project Intake & Mandatory Disclosure
Applicant inputs must be supported by documents. “Not provided” is not neutral where a hard gate depends on the evidence.
Input convention: yellow/blue cells are editable; green text is linked from another sheet
Field | Applicant input | Required evidence | Disclosure status | Source / document ID
Project name |  | Legal project name and application number | Not provided
Site / address / parcel IDs |  | Survey, parcel map and acreage | Not provided
Applicant / developer legal entity |  | Formation documents and good-standing certificate | Not provided
Landowner |  | Deed or binding site-control instrument | Not provided
Property owner after completion |  | Ownership diagram and transfer plan | Not provided
Data-centre asset owner |  | Ownership diagram and financial statements | Not provided
Data-centre operator |  | Operating agreement or executed commitment | Not provided
Technology tenant(s) |  | Executed lease/commitment or disclosure of vacancy risk | Not provided
Server / computing-equipment owner |  | Equipment ownership and refresh plan | Not provided
Debt provider(s) |  | Financing commitment and security hierarchy | Not provided
Equity investor(s) |  | Investor and control rights disclosure | Not provided
Ultimate beneficial owner(s) |  | Beneficial ownership certification | Not provided
Parent guarantor / enforcement counterparty |  | Executed guarantee and audited financial capacity | Not provided
Change-of-control / affiliate structure |  | Current organization chart and successor obligations | Not provided
Contracted electrical capacity (MW) |  | Utility study, service agreement and ramp schedule | Not provided
IT load at full operation (MW) |  | Stamped electrical design and PUE assumptions | Not provided
Load factor at full operation |  | Hourly load profile and sensitivity range | Not provided
Load ramp: Year 1 / 2 / 3 / 4 |  | Contractual minimum ramp and delay remedies | Not provided
Target energization date |  | Utility milestone schedule | Not provided
Expected operating life (years) |  | Business plan and technology refresh assumptions | Not provided
Buildings / floor area |  | Site plan and phased buildout schedule | Not provided
Backup generation / fuel / annual testing |  | Air permits, fuel storage and operating limits | Not provided
Cooling system |  | Design basis, PUE/WUE and seasonal mode | Not provided
Potable water source |  | Utility commitment and source-specific capacity study | Not provided
Annual potable-water demand (gal) |  | Facility-specific engineering estimate | Not provided
Peak-day potable-water demand (gal/day) |  | Seasonal/drought engineering estimate | Not provided
Reclaimed-water share |  | Executed supply plan and fallback source | Not provided
Wastewater discharge (gal/day) |  | Authority capacity letter and pretreatment plan | Not provided
Drought / emergency curtailment plan |  | Binding triggers, priorities and backup cooling | Not provided
Local tax forecast |  | Tax-base schedule by levy, asset class and year | Not provided
State tax forecast |  | Tax schedule by tax type and year | Not provided
Tax exemptions / abatements / grants requested |  | Full subsidy schedule, legal authority and term | Not provided
Public infrastructure requested |  | Asset, owner, cost, payer and repayment schedule | Not provided
Permanent operating jobs |  | Job titles, FTE definition, employer and ramp | Not provided
Median wage and benefits |  | Payroll commitment and verification protocol | Not provided
Local-resident hiring commitment |  | Defined geography, eligibility and reporting | Not provided
Local procurement commitment |  | Value-added definition; exclude pass-through spend | Not provided
Community fund / direct investment |  | Amount, timing, governance and permitted uses | Not provided
Decommissioning plan and security |  | Engineer cost estimate, financial assurance and triggers | Not provided
Existing land use and opportunity cost |  | Alternative-use and foregone-revenue analysis | Not provided
Alternative sites / systems considered |  | Site, cooling, energy and infrastructure alternatives | Not provided

## Hard Gates
Seven Hard-Gate Approval Test
No weighted score: one Fail or Unknown requires rejection or deferral until cured with evidence.
Overall gate result | DEFER — EVIDENCE INCOMPLETE |  | Pass | Conditional | Fail | Unknown
|  |  | 0 | 0 | 0 | 7
Gate | Approval question | Minimum evidence | Status | Conditions / reason | Independent verification | Required agreement hook
1. Ownership & accountability | Can the community identify every material owner, operator, tenant and beneficiary—and enforce obligations against a creditworthy counterparty? | Beneficial-ownership certificate; organization chart; leases/operating agreements; audited guarantor financials; successor liability. | Unknown |  | Counsel and financial adviser | Joint-and-several liability; parent guarantee; change-of-control consent; covenants run with land where lawful.
2. Fiscal additionality & proportionality | After subsidies, infrastructure, services and opportunity cost, is the 20-year public fiscal result non-negative under a credible downside? | Tax-base schedule; incentives; public costs; but-for analysis; alternate-use baseline; base/downside model. | Unknown |  | Independent fiscal analyst | Minimum payments; clawbacks; audit rights; no double counting; automatic reconciliation.
3. Electricity cost allocation & reliability | Are all customer-caused generation, transmission, distribution, interconnection, reserve and stranded-asset risks assigned and secured without unjustified cost shifting? | Utility studies; tariff/ESA; cost-of-service evidence; ramp; minimum bill; term; exit fee; collateral; emergency curtailment. | Unknown |  | Utility, PUC and system operator | Beneficiary-pays schedule; take-or-pay; security; cancellation reimbursement; emergency priority.
4. Water, wastewater & drought resilience | Is facility-specific water use compatible with source capacity, drought conditions and wastewater limits without impairing existing users or alternatives? | Source-specific capacity study; seasonal and peak use; cooling modes; reuse; drought plan; wastewater authorization. | Unknown |  | Water and wastewater authorities | Volume caps; metering; drought curtailment; reuse milestones; exceedance remedies.
5. Land use, health & public-service compatibility | Are siting, noise, air, light, traffic, fire, hazardous materials and e-waste impacts compatible and fully mitigated? | Site alternatives; environmental review; noise model; air permits; fire/EMS plan; traffic and decommissioning plans. | Unknown |  | Planning, environmental, fire and public-health staff | Operational limits; monitoring; permit revocation/cure; complaint and emergency response.
6. Durable local value capture | Are taxes, payments, jobs, wages, procurement and community investments binding, measurable, additional and retained locally? | Year-by-year commitments; employer and geography definitions; payroll/procurement evidence; fund governance. | Unknown |  | Fiscal, labor and procurement reviewers | Minimum commitments; liquidated damages; local-benefit fund; reporting and third-party audit.
7. Enforceability & lifecycle security | Will obligations survive delay, tenant turnover, affiliate transfers, default, closure and decommissioning? | Executed agreements; guarantees; letters of credit/bonds; clawbacks; audit access; closure cost estimate; successor terms. | Unknown |  | Counsel, engineer and financial adviser | Security replenishment; step-in rights; decommissioning; transfer restrictions; continuing liability.
Decision rule: Pass means independently verified and contractually secured. Conditional means a specifically identified cure must be completed before final approval or energization. Fail means the project is unacceptable on the evidence. Unknown means the evidence is insufficient and therefore requires deferral.

## Cost Ledger
Electricity, Water & Stranded-Cost Allocation Ledger
Record who owns each asset, who pays first, who repays, who guarantees payment and who bears residual risk.
Known public-risk exposure ($) | 0 |  | Unknown risk-holder lines | 20
ID | Asset / cost | Phase | Asset owner | First payer | Amount ($) | Repayment / recovery mechanism | Final risk holder | Security held | Recovery status | Source ID | Notes / assumptions
PWR-01 | Load and interconnection studies | Pre-approval |  |  |  |  | Unknown |  | Unknown
PWR-02 | Dedicated interconnection facilities | Construction |  |  |  |  | Unknown |  | Unknown
PWR-03 | Distribution/substation upgrades | Construction |  |  |  |  | Unknown |  | Unknown
PWR-04 | Network transmission upgrades | Construction |  |  |  |  | Unknown |  | Unknown
PWR-05 | Incremental generation/resource adequacy | Construction/operation |  |  |  |  | Unknown |  | Unknown
PWR-06 | Operating reserves and balancing | Operation |  |  |  |  | Unknown |  | Unknown
PWR-07 | Clean generation/storage dedicated to load | Construction/operation |  |  |  |  | Unknown |  | Unknown
WTR-01 | Raw/potable water supply capacity | Construction |  |  |  |  | Unknown |  | Unknown
WTR-02 | Reclaimed-water supply and treatment | Construction |  |  |  |  | Unknown |  | Unknown
WTR-03 | Wastewater conveyance/treatment | Construction/operation |  |  |  |  | Unknown |  | Unknown
CIV-01 | Road, intersection and traffic works | Construction |  |  |  |  | Unknown |  | Unknown
CIV-02 | Stormwater/flood mitigation | Construction/operation |  |  |  |  | Unknown |  | Unknown
PUB-01 | Fire/EMS equipment and staffing | Construction/operation |  |  |  |  | Unknown |  | Unknown
PUB-02 | Planning, inspection and compliance staff | Pre-approval/operation |  |  |  |  | Unknown |  | Unknown
ENV-01 | Noise, air, light and habitat mitigation | Construction/operation |  |  |  |  | Unknown |  | Unknown
TEL-01 | Fiber/broadband works | Construction |  |  |  |  | Unknown |  | Unknown
COM-01 | Community investment fund | Construction/operation |  |  |  |  | Unknown |  | Unknown
DEC-01 | Decommissioning and e-waste | Closure |  |  |  |  | Unknown |  | Unknown
STR-01 | Cancellation/delay stranded asset risk | Pre-energization |  |  |  |  | Unknown |  | Unknown
STR-02 | Early closure/under-load stranded asset risk | Operation/closure |  |  |  |  | Unknown |  | Unknown

## Fiscal Inputs
20-Year Fiscal & Infrastructure Inputs
Enter positive dollar amounts; the Direction column applies the sign. Zero means independently confirmed none—not missing data.
Discount rate | Model start year | 5.0% illustrative | Use nominal dollars consistently. If a line is not applicable, enter 0 and cite the evidence. Keep local, state, utility/ratepayer and non-fiscal local value separate.
5% | 2027 | 2027 illustrative
Line item | Account / beneficiary | Direction | Required? | Year 0 ($) | Year 1 ($) | Annual growth | Evidence class | Source ID | Notes / definition
Local taxes and statutory fees collected | Local government | 1 | Yes |  |  |  | Unknown |  | Property, sales/use, utility, franchise and other taxes actually retained locally.
PILOT / development-agreement payments | Local government | 1 | Yes |  |  |  | Unknown |  | Contracted cash payments to the local government.
Local grants / cash incentives | Local government | -1 | Yes |  |  |  | Unknown |  | Direct grants, reimbursements or public financing.
Local tax abatements / exemptions | Local government | -1 | Yes |  |  |  | Unknown |  | Foregone revenue measured against the lawful counterfactual.
Local infrastructure capital cost | Local government | -1 | Yes |  |  |  | Unknown |  | Road, water, wastewater, fire or other local capital attributable to the project.
Applicant reimbursement to local government | Local government | 1 | Yes |  |  |  | Unknown |  | Cash reimbursements; do not count a refundable security deposit as revenue.
Incremental local services / monitoring | Local government | -1 | Yes |  |  |  | Unknown |  | Planning, inspection, fire/EMS, environmental monitoring and administration.
State taxes and statutory fees collected | State government | 1 | Yes |  |  |  | Unknown |  | State revenue attributable to the project.
State grants / cash incentives | State government | -1 | Yes |  |  |  | Unknown |  | Direct grants and financing support.
State tax exemptions / credits | State government | -1 | Yes |  |  |  | Unknown |  | Foregone state revenue; record gross cost and but-for analysis separately.
State infrastructure / administration | State government | -1 | Yes |  |  |  | Unknown |  | State-attributable infrastructure and program administration.
Customer contribution in aid of construction | Utility/ratepayer | 1 | Yes |  |  |  | Unknown |  | Upfront contribution dedicated to customer-caused infrastructure.
Customer charges dedicated to incremental-cost recovery | Utility/ratepayer | 1 | Yes |  |  |  | Unknown |  | Only the portion demonstrated to recover incremental fixed/operating costs.
Incremental generation/resource-adequacy cost | Utility/ratepayer | -1 | Yes |  |  |  | Unknown |  | But-for generation, capacity and clean-energy procurement cost.
Incremental transmission cost | Utility/ratepayer | -1 | Yes |  |  |  | Unknown |  | Network and direct-assignment transmission cost.
Incremental distribution/interconnection cost | Utility/ratepayer | -1 | Yes |  |  |  | Unknown |  | Distribution, substation and interconnection facilities.
Incremental utility O&M / admin / reserve cost | Utility/ratepayer | -1 | Yes |  |  |  | Unknown |  | Operating, staffing, reserves, software and administration.
Exit / cancellation / stranded-cost payments | Utility/ratepayer | 1 | Yes |  |  |  | Unknown |  | Expected or realized payments under enforceable security; probability-weight if estimated.
Community investment fund and direct benefits | Contracted community | 1 | Yes |  |  |  | Unknown |  | Cash or in-kind value directly governed for host-community benefit.
Local-resident labor income | Local economy (non-fiscal) | 1 | No |  |  |  | Unknown |  | Resident labor income, not total payroll and not public revenue.
Local procurement value added | Local economy (non-fiscal) | 1 | No |  |  |  | Unknown |  | Local value added, not gross pass-through procurement spend.

## 20Y Model
20-Year Public Fiscal & Infrastructure Model
Formula-driven projection. Public fiscal cash, utility/ratepayer effects and non-fiscal local value remain separate.
Positive values are inflows/benefits to the named account; negative values are costs/foregone revenue. Year 0 is pre-operation/construction.
Line item | Account / beneficiary | Direction | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
|  |  | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047
Local taxes and statutory fees collected | Local government | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PILOT / development-agreement payments | Local government | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Local grants / cash incentives | Local government | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Local tax abatements / exemptions | Local government | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Local infrastructure capital cost | Local government | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Applicant reimbursement to local government | Local government | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Incremental local services / monitoring | Local government | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
State taxes and statutory fees collected | State government | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
State grants / cash incentives | State government | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
State tax exemptions / credits | State government | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
State infrastructure / administration | State government | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Customer contribution in aid of construction | Utility/ratepayer | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Customer charges dedicated to incremental-cost recovery | Utility/ratepayer | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Incremental generation/resource-adequacy cost | Utility/ratepayer | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Incremental transmission cost | Utility/ratepayer | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Incremental distribution/interconnection cost | Utility/ratepayer | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Incremental utility O&M / admin / reserve cost | Utility/ratepayer | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Exit / cancellation / stranded-cost payments | Utility/ratepayer | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Community investment fund and direct benefits | Contracted community | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Local-resident labor income | Local economy (non-fiscal) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Local procurement value added | Local economy (non-fiscal) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Account totals and present values
Local government net | Local government |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
State government net | State government |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Utility/ratepayer net | Utility/ratepayer |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Contracted community benefits | Contracted community |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Local economy retained value (non-fiscal) | Local economy (non-fiscal) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total public net | Local + state + utility/ratepayer |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Discount factor | Model rate |  | 1 | 0.95238 | 0.90703 | 0.86384 | 0.8227 | 0.78353 | 0.74622 | 0.71068 | 0.67684 | 0.64461 | 0.61391 | 0.58468 | 0.55684 | 0.53032 | 0.50507 | 0.48102 | 0.45811 | 0.4363 | 0.41552 | 0.39573 | 0.37689
PV — local government | Discount factor |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV — state government | Discount factor |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV — utility/ratepayer | Discount factor |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV — total public | Discount factor |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV — contracted community | Discount factor |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV — local economy (non-fiscal) | Discount factor |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Decision output | NPV ($)
Local government NPV | 0
State government NPV | 0
Utility/ratepayer NPV | 0
Total public NPV | 0
Contracted community-benefit NPV | 0
Locally retained economic-value NPV (non-fiscal) | 0
Public NPV tie-out | 0
Positive public inflows NPV | 0
Public costs / foregone revenue NPV | 0
Positive + cost NPV tie-out | 0

## Power & Water
Project Power & Water Test
Facility-specific inputs control. National averages and tariff precedents are sensitivities, not evidence of site performance.
Project-specific operating envelope
Contracted capacity (MW)
Full-operation load factor
Annual facility electricity (GWh)
Minimum-billing fraction
Minimum billed demand (MW)
Direct site WUE (L/kWh)
Annual direct water consumption (gal)
Average daily direct water (gal/day)
Reclaimed-water share
Indirect water intensity (L/kWh)
Annual indirect water footprint (gal)
Peak-day potable water (gal/day)
Mandatory engineering and agreement findings
Finding | Status | Required evidence | Source ID | Contractual control | Responsible reviewer | Cure / trigger | Notes
Utility confirms capacity and system reliability | Unknown | Final load study and service plan |  | Capacity/ramp and curtailment covenant | Utility/PUC
All customer-caused grid costs assigned and secured | Unknown | Cost-of-service and security schedule |  | Beneficiary-pays; minimum bill; guarantee | Utility/PUC
Emergency interruption prioritizes large load before protected customers where lawful | Unknown | Emergency operating protocol |  | Curtailment and non-performance remedies | System operator/utility
Water source has firm and drought-year headroom | Unknown | Source-specific capacity and drought study |  | Volume cap and drought curtailment | Water authority
Wastewater system can accept peak and quality | Unknown | Capacity letter and discharge permit |  | Discharge cap and pretreatment | Wastewater authority
Meters and public reporting cover electricity and water | Unknown | Metering plan and data protocol |  | Annual disclosure and audit rights | Utility/locality

## Scenarios
Worked Physical-Scale Scenarios
100 MW, 250 MW and 1 GW examples. These are transparent sensitivities—not facility forecasts or approval evidence.
Illustrative load factor | 85% |  | Illustrative ramp — Year 4 | 90% |  | Benchmarks: 0.36 L/kWh is LBNL’s modelled 2023 US-average site WUE and is not a site forecast. The 85% minimum-billing benchmark and 50/65/80/90% ramp reflect AEP Ohio’s approved data-centre tariff design; local tariffs differ.
Illustrative direct site WUE (L/kWh) | 0.36
Illustrative minimum-billing fraction | 85%
Illustrative ramp — Year 1 | 50%
Illustrative ramp — Year 2 | 65%
Illustrative ramp — Year 3 | 80%
Scenario | Contract capacity (MW) | Average demand (MW) | Annual electricity (GWh) | Minimum billed demand (MW) | Direct water (gal/year) | Direct water (gal/day) | Ramp Y1 (MW) | Ramp Y2 (MW) | Ramp Y4 (MW)
100 MW | 100 | 85 | 744.6 | 85 | 70812937.04 | 194008.0467 | 50 | 65 | 90
250 MW | 250 | 212.5 | 1861.5 | 212.5 | 177032342.6 | 485020.1167 | 125 | 162.5 | 225
1 GW | 1000 | 850 | 7446 | 850 | 708129370.4 | 1940080.467 | 500 | 650 | 900
Scale interpretation
At the illustrative 85% load factor, the examples consume about 744.6 GWh, 1,861.5 GWh and 7,446 GWh per year. Applying the 0.36 L/kWh national modelled WUE produces about 194,000, 485,000 and 1.94 million gallons per day of direct water consumption. These calculations show order of magnitude only. Approval must use site design, climate, cooling mode, workload, metered data, source capacity and drought conditions.
Public fiscal downside sensitivity
Scenario | Positive public inflow factor | Public cost factor | 20Y public NPV ($) | Result |  | Edit the revenue and cost factors to reflect the jurisdiction’s downside case. The table scales positive public inflows and public costs separately, so subsidies and infrastructure costs are not reduced merely because project revenues disappoint. Gate 2 should not pass when the chosen combined downside is negative.
Base | 100% | 100% | 0 | INCOMPLETE
Revenue downside | 75% | 100% | 0 | INCOMPLETE
Cost overrun | 100% | 125% | 0 | INCOMPLETE
Combined downside | 75% | 125% | 0 | INCOMPLETE
Severe sensitivity | 50% | 150% | 0 | INCOMPLETE

## Contract Register
Development Agreement & Security Register
Model terms must be adapted by local counsel and coordinated with utility tariffs, permits and state law.
Required clauses | Executed / N/A | Open or breached | Register result
16 | 0 | 16 | INCOMPLETE
Clause | Topic | Required term / test | Required? | Obligated parties | Security / remedy | Status | Evidence / section | Cure deadline | Liquidated damages / clawback | Notes
C-01 | Ownership and liability | Identify owner/operator/tenant/equipment owner and impose joint, several and successor obligations. | Yes | Owner, operator, tenant, parent guarantor | Parent guarantee; covenant/recording where lawful | Not drafted
C-02 | Beneficiary-pays infrastructure | Applicant pays all but-for site, generation, transmission, distribution, water and public-service costs. | Yes | Owner, operator, utility customer | Upfront contribution; reconciliation; no ratepayer/local recourse | Not drafted
C-03 | Minimum bill and term | Contract term and minimum demand recover incremental fixed cost across ramp and operation. | Yes | Utility customer, guarantor | Take-or-pay; exit fee; modification notice | Not drafted
C-04 | Credit and collateral | Security covers identified exposure and is replenished as obligations change. | Yes | Owner, utility customer, parent | Irrevocable LOC/cash/acceptable guarantee | Not drafted
C-05 | Cancellation and delay | Pre-energization cancellation or material delay reimburses 100% of incurred/committed but-for costs. | Yes | Applicant, owner, guarantor | Draw on security; milestone termination payment | Not drafted
C-06 | Emergency flexibility | Define curtailable MW, response time, testing, emergency priority and non-performance remedy. | Yes | Operator, utility customer, tenant | Penalty; loss of service priority; dispatch control | Not drafted
C-07 | Electricity transparency | Meter and report peak, annual load, ramp, outages, curtailment and tariff compliance. | Yes | Operator, utility customer | Audit access; public aggregate reporting | Not drafted
C-08 | Water and wastewater | Facility-specific annual/peak caps, reuse targets, drought triggers and discharge limits. | Yes | Owner, operator, water customer | Flow restriction; escalating charge; permit/occupancy cure | Not drafted
C-09 | Tax and incentive reconciliation | Deduct all subsidies; reconcile actual tax base; claw back shortfalls and non-additional benefits. | Yes | Owner, beneficiaries, affiliates | Automatic clawback; interest; set-off | Not drafted
C-10 | Jobs, wages and hiring | Define FTE, employer, worksite, median wage, benefits, local geography and annual verification. | Yes | Owner, operator, major tenants | Per-job liquidated damages; cure plan | Not drafted
C-11 | Local procurement value | Measure local value added, exclude pass-through spend and verify supplier location/ownership. | Yes | Owner, operator, contractors | Shortfall payment; audit rights | Not drafted
C-12 | Community investment | Set amounts, timing, governance, eligible uses and independent reporting. | Yes | Owner, developer, guarantor | Prefunded account/LOC; interest; enforcement | Not drafted
C-13 | Monitoring and audit | Annual public report, record retention, third-party audit, confidentiality protocol and cost reimbursement. | Yes | All obligated parties | Audit reimbursement; default for non-reporting | Not drafted
C-14 | Transfer and affiliate protection | No assignment, lease or change of control releases obligations without consent and replacement security. | Yes | Owner, operator, tenant, guarantor | Continuing liability; consent right | Not drafted
C-15 | Decommissioning | Define inactivity trigger, closure plan, e-waste handling, site restoration and periodically updated cost security. | Yes | Owner, operator, guarantor | Engineer-priced reserve/LOC; step-in rights | Not drafted
C-16 | Default and enforcement | Define notice, cure, specific performance, damages, permit/occupancy remedies and fee recovery. | Yes | All obligated parties | Cumulative remedies; no exclusive soft remedy | Not drafted

## Annual Dashboard
Annual Compliance Dashboard
Set contractual targets before occupancy. Populate actuals from meter, tax, payroll, procurement and audit evidence.
Reporting year | 1 | Overall compliance | INCOMPLETE
ID | Metric | Unit | Test | Contractual target | Actual | Variance | Status | Evidence class | Evidence / source | Responsible party / cure | Notes
P-01 | Peak electrical demand | MW | At most |  |  |  | NOT REPORTED | UNKNOWN
P-02 | Annual electricity consumption | GWh | At most |  |  |  | NOT REPORTED | UNKNOWN
P-03 | Minimum billed demand paid | MW | At least |  |  |  | NOT REPORTED | UNKNOWN
P-04 | Verified curtailable load | MW | At least |  |  |  | NOT REPORTED | UNKNOWN
P-05 | Emergency-curtailment non-performance events | count | At most |  |  |  | NOT REPORTED | UNKNOWN
W-01 | Annual potable-water use | gal | At most |  |  |  | NOT REPORTED | UNKNOWN
W-02 | Peak-day potable-water use | gal/day | At most |  |  |  | NOT REPORTED | UNKNOWN
W-03 | Reclaimed-water share | % | At least |  |  |  | NOT REPORTED | UNKNOWN
W-04 | Wastewater discharge | gal/day | At most |  |  |  | NOT REPORTED | UNKNOWN
E-01 | Power Usage Effectiveness (PUE) | ratio | At most |  |  |  | NOT REPORTED | UNKNOWN
E-02 | Direct site Water Usage Effectiveness | L/kWh | At most |  |  |  | NOT REPORTED | UNKNOWN
F-01 | Local taxes and fees paid | $ | At least |  |  |  | NOT REPORTED | UNKNOWN
F-02 | State taxes and fees paid | $ | At least |  |  |  | NOT REPORTED | UNKNOWN
C-01 | Community-fund payments | $ | At least |  |  |  | NOT REPORTED | UNKNOWN
J-01 | Permanent operating FTE | FTE | At least |  |  |  | NOT REPORTED | UNKNOWN
J-02 | Median wage | $/year | At least |  |  |  | NOT REPORTED | UNKNOWN
J-03 | Local-resident hires | % | At least |  |  |  | NOT REPORTED | UNKNOWN
J-04 | Local procurement value added | $ | At least |  |  |  | NOT REPORTED | UNKNOWN
L-01 | Boundary noise | dBA | At most |  |  |  | NOT REPORTED | UNKNOWN
R-01 | Days annual report late | days | At most |  |  |  | NOT REPORTED | UNKNOWN

## Checks
Model Checks
The template is intentionally incomplete until project evidence and executed terms are entered.
Overall model readiness | INCOMPLETE — DO NOT APPROVE
Check | Actual | Expected | Difference | Tolerance | Status | Fix / location
All seven gate statuses entered | 7 | 7 | 0 | 0 | OK | Hard Gates!D7:D13
No failed or unknown hard gates | 7 | 0 | 7 | 0 | INCOMPLETE | Hard Gates!D7:D13
Contracted MW provided and positive | 0 | 1 | -1 | 0 | INCOMPLETE | Project Intake!B21
Critical ownership disclosures provided | 0 | 12 | -12 | 0 | INCOMPLETE | Project Intake!D9:D20
Required fiscal inputs complete | 57 | 0 | 57 | 0 | INCOMPLETE | Fiscal Inputs!E8:G26
Required fiscal evidence classified | 19 | 0 | 19 | 0 | INCOMPLETE | Fiscal Inputs!H8:H28
Total public NPV is non-negative | 0 | 0 | 0 | 0 | INCOMPLETE | 20Y Model!B49
Combined downside public NPV is non-negative | 0 | 0 | 0 | 0 | INCOMPLETE | Scenarios!D30
Utility/ratepayer NPV is non-negative | 0 | 0 | 0 | 0 | INCOMPLETE | 20Y Model!B48
No known public-risk exposure | 0 | 0 | 0 | 0 | INCOMPLETE | Cost Ledger!H8:J27
Water source/cap/drought disclosures provided | 0 | 6 | -6 | 0 | INCOMPLETE | Project Intake!D30:D35
Required contract clauses executed | 0 | 16 | -16 | 0 | INCOMPLETE | Contract Register!G8:G23
Annual dashboard targets configured | 20 | 0 | 20 | 0 | INCOMPLETE | Annual Dashboard!E8:E27

## Sources
Sources & Assumption Register
Primary public sources underpin the policy precedents. Facility decisions still require project-specific evidence.
ID | Institution | Document / action | Date | Jurisdiction | Evidence class | Used for | URL | Important limitation
S01 | Lawrence Berkeley National Laboratory / US DOE | 2024 United States Data Center Energy Usage Report | 2024-12-01 | United States | ESTIMATE | 176 TWh/4.4% in 2023; 2028 range; 0.36 L/kWh WUE; 66bn L direct water | https://eta-publications.lbl.gov/sites/default/files/2024-12/lbnl-2024-united-states-data-center-energy-usage-report_1.pdf | Bottom-up national model; not facility-specific; limited public data.
S02 | Lawrence Berkeley National Laboratory | Speed to Power: Solutions for Accelerating Large Load Connections | 2026-06-01 | United States | FACT / SYNTHESIS | Cost allocation, direct assignment, minimum bills, terms, collateral, flexibility | https://eta-publications.lbl.gov/sites/default/files/2026-06/lbnl_large_loads_speed_to_power_final_1.pdf | Compendium of approaches; design choices are not proven outcomes.
S03 | Lawrence Berkeley National Laboratory | Large Loads Literature Review | 2026-01-01 | United States | SYNTHESIS | Policy and research cross-check | https://eta-publications.lbl.gov/sites/default/files/2026-01/lbnl_lllreview_dec_update_2025_final.pdf | Summarizes sources with different sponsors and methods.
S04 | AEP Ohio / Public Utilities Commission of Ohio | Approved Data Center Tariff and implementation page | 2025-07-23 | Ohio | FACT | 25 MW threshold; study fees; ramp; term; collateral; minimum demand; exit/cancellation | https://www.aepohio.com/company/about/rates/data-center-tariff/ | Tariff design in one utility; customer outcomes require later evidence.
S05 | Public Utilities Commission of Ohio | Order announcement for AEP Ohio data-centre tariff | 2025-07-09 | Ohio | FACT | Regulatory purpose: reduce underused-investment cost shifting | https://content.govdelivery.com/accounts/OHPUC/bulletins/3e8bb79 | Commission summary; full tariff/order controls.
S06 | Georgia Public Service Commission | Rule for customers over 100 MW | 2025-01-23 | Georgia | FACT | Upstream generation/T&D cost, up to 15-year contracts, minimum billing, PSC review | https://psc.ga.gov/site/assets/files/8617/media_advisory_data_centers_rule_1-23-2025.pdf | Rule description, not evidence that cost shifting was eliminated.
S07 | Michigan Public Service Commission | DTE data-centre contracts approved with conditions | 2025-12-18 | Michigan | FACT / CLAIM | 19-year term; 80% minimum bill; termination payment; emergency priority | https://www.michigan.gov/mpsc/commission/news-releases/2025/12/18/mpsc-approves-dte-electric-energy-contracts-for-data-center | Contract terms are facts; projected $300m ratepayer benefit is a utility filing estimate.
S08 | Governor of New York | Executive Order 62 | 2026-07-14 | New York | FACT / POLICY | Beneficiary-pays, grid fund concept, water review, community framework, ≥50 MW definition | https://www.governor.ny.gov/executive-order/no-62-establishing-temporary-moratorium-data-centers-new-york-while-state-develops | Some mechanisms directed for development, not yet proven policy outcomes.
S09 | Georgia Department of Audits and Accounts / University of Georgia | Georgia Data Center Sales & Use Tax Exemption Evaluation | 2025-12-01 | Georgia | ESTIMATE | But-for analysis; incentives separate from fiscal revenue and modelled value added | https://www.audits.ga.gov/ReportSearch/download/33298 | Model and projections; economic value added is not retained public revenue.
S10 | City of Lancaster, Pennsylvania | Draft data-centre Community Benefits Agreement | 2025-11-01 | Lancaster, PA | DRAFT PRECEDENT | Water cap, reporting, community funds, letters of credit and enforcement | https://www.cityoflancasterpa.gov/wp-content/uploads/2025/11/Lancaster-CBA-Draft.pdf | Draft/project-specific agreement; legal authority and final terms must be checked.
S11 | City of St. Louis | Conditional-use and community-benefit framework | 2026-04-21 | St. Louis, MO | FACT / CLAIM | Measurable conditions, liquidated damages, jobs, tax reconciliation, decommissioning | https://www.stlouis-mo.gov/government/departments/mayor/news/data-center-permit-approved.cfm | Conditions are reported facts; jobs and tax revenue are projections/claims.
S12 | Linn County, Iowa | Data-centre ordinance summary | 2026-02-01 | Linn County, IA | FACT | Water study/agreement, economic development agreement and community fund | https://www.linncountyiowa.gov/1862/Data-Centers-in-Unincorporated-Linn-Coun | Local ordinance; check signed text and Iowa authority before reuse.
S13 | Virginia Joint Legislative Audit and Review Commission | Data Centers in Virginia | 2024-12-01 | Virginia | FACT / ESTIMATE / CLAIM | Local fiscal concentration, jobs, electricity, water and siting evidence | https://jlarc.virginia.gov/pdfs/reports/Rpt598.pdf | Some facility/workforce figures originate from industry representatives.